## Sheet1
A_PM (cm2) | 0.7854
A_PD (cm2) | 0.48581
RL | 4200
PM Offset (W/cm2) | PM Mean (W/cm2) | PM Value (W/cm2) |  |  | A/W@532 | A/W@532 multiplying cm2
5e-10 | 2.5e-07 | 2.495e-07 |  |  | 0.2534 | 0.15674
PD Offset (V) | PD Mean (V) | PD Value (V) | PD Current (A) | PD Current (A/cm2)
0.000401 | 0.00053 | 0.000129 | 3.0714e-08 | 6.3223e-08
From Responsivity Test, slide 3: https://docs.google.com/presentation/d/1efZGLzKGN8fXGs2y3wYciMQwtwUKfVEXYx5GB2VYN2M/edit#slide=id.g21702babb5d_0_13
Gain (W/V) | Current (A) (1V/8200ohms) | A/W@1064
0.00024232 | 0.00012195 | 0.50327
Ratio 532nm/1064nm | 0.50351

## Offset
offset PD Nist, 60ms samp rate (average 5 min) - closed input hole, from monochromator on (monochromator+sphere+PD nist) | nW/cm2 | std (nW/cm2) |  |  | W |  | A
| 1.33 | 0.03 |  |  | 1.0446e-09 | should be gaussian
| 1.18 | 0.08 | (more people in the room) |  | 9.2677e-10 | 2 sigmas
offset PD Virgo, 60ms samp rate (average 5 min-5000 samples) - closed input hole, from monochromator on (monochromator+sphere+PD Virgo) | V | std (V) |  | R=4.28kOhm
| 0.000297 | 0.000246 | (more people in the room) |  |  |  | 6.9393e-08

## with 5 min
Power ND ref (input attenuator) | PM (nW/cm2) | std PM (nW/cm2) | PD Virgo (V) | std PD Virgo (V) | PD Virgo (A) I=V/R | R=4.28 kOhm
60 | 280.4 | 0.1 | 0.000844 | 0.000232 | 1.972e-07
70 | 225.6 | 0.1 | 0.000603 | 0.000202 | 1.4089e-07
80 | 138.8 | 0.1 | 0.000497 | 5.1e-05 | 1.1612e-07

## with 1 min
| Power ND ref (input attenuator) | PM (nW/cm2) | (PM - offset)/(2*sigma0PM) | std PM (nW/cm2) | PD Virgo (V) | std PD Virgo (V) | PD Virgo (A) I=V/R | (PD - offset)/(2*sigma0PD) | (PD - offset)/(sigma0PD) | mu/sigma PD Virgo | sigma0PD(V)=0,000246 | sigma0PM (nW/cm2)=0.03 | R=4.28 kOhm | 21.3 Celsius | 36% humedad | Numero de medidas | N=60000/60=1000
1 | 90 | 106 | 1744.5 | 0.1 | -0.000524 | 0.031622 | -1.2243e-07 | -1.6687 | -3.3374 | -190.8397
| 80 | 138.9 | 2292.8333 | 0.1 | 0.000496 | 6.7e-05 | 1.1589e-07 | 0.40447 | 0.80894 | 7.403
| 70 | 151.2 | 2497.8333 | 0.1 | 0.000722 | 0.000249 | 1.6869e-07 | 0.86382 | 1.7276 | 2.8996
| 60 | 280.5 | 4652.8333 | 0.1 | 0.000852 | 0.000229 | 1.9907e-07 | 1.128 | 2.2561 | 3.7205
| 55 | 280.5 | 4652.8333 | 0.1 | 0.000834 | 0.000236 | 1.9486e-07 | 1.0915 | 2.1829 | 3.5339
| 50 | 280.3 | 4649.5 | 0.1 | 0.000828 | 0.000238 | 1.9346e-07 | 1.0793 | 2.1585 | 3.479
| 45 | 280.5 | 4652.8333 | 0.1 | 0.000848 | 0.00023 | 1.9813e-07 | 1.1199 | 2.2398 | 3.687
| 40 | 280.5 | 4652.8333 | 0.1 | -0.000159 | 0.031634 | -3.715e-08 | -0.92683 | -1.8537 | -0.0050262
| 65 | 280.5 | 4652.8333 | 0.1 | -0.000149 | 0.031635 | -3.4813e-08 | -0.9065 | -1.813 | -0.00471
| 70 | 252.5 | 4186.1667 | 0.1 | 0.000711 | 0.000247 | 1.6612e-07 | 0.84146 | 1.6829 | 2.8785
| 75 | 189.8 | 3141.1667 | 0.1 | 0.000521 | 0.0001 | 1.2173e-07 | 0.45528 | 0.91057 | 5.21
| 80 | 134.9 | 2226.1667 | 0.1 | 0.000495 | 5e-05 | 1.1565e-07 | 0.40244 | 0.80488 | 9.9
| 85 | 122.1 | 2012.8333 | 0.1 | 0.000489 | 8e-05 | 1.1425e-07 | 0.39024 | 0.78049 | 6.1125
| 90 | 108.6 | 1787.8333 | 0.1 | 0.000472 | 0.000116 | 1.1028e-07 | 0.35569 | 0.71138 | 4.069
| 95 | 98.2 | 1614.5 | 0.1 | 0.000462 | 0.000133 | 1.0794e-07 | 0.33537 | 0.67073 | 3.4737
| 100 | 88.2 | 1447.8333 | 0.1 | 0.000447 | 0.000155 | 1.0444e-07 | 0.30488 | 0.60976 | 2.8839
| 105 | 78.4 | 1284.5 | 0.1 | 0.000426 | 0.000178 | 9.9533e-08 | 0.2622 | 0.52439 | 2.3933
| 110 | 68.8 | 1124.5 | 0.1 | 0.000408 | 0.000194 | 9.5327e-08 | 0.22561 | 0.45122 | 2.1031
| 115 | 63.2 | 1031.1667 | 0.1 | 0.000385 | 0.000211 | 8.9953e-08 | 0.17886 | 0.35772 | 1.8246
| 120 | 56.7 | 922.8333 | 0.1 | 0.000391 | 0.000207 | 9.1355e-08 | 0.19106 | 0.38211 | 1.8889
| 125 | 51.1 | 829.5 | 0.1 | 0.00037 | 0.000219 | 8.6449e-08 | 0.14837 | 0.29675 | 1.6895
| 130 | 47 | 761.1667 | 0.1 | -0.000621 | 0.03162 | -1.4509e-07 | -1.8659 | -3.7317 | -0.019639
| 135 | 42.3 | 682.8333 | 0.1 | -0.000643 | 0.031619 | -1.5023e-07 | -1.9106 | -3.8211 | -0.020336
| 330 | 4.16 | 47.1667 | 0.01 | 0.000306 | 0.000244 | 7.1495e-08 | 0.018293 | 0.036585 | 1.2541
| 335 | 7.68 | 105.8333 | 0.01 | -0.000683 | 0.031618 | -1.5958e-07 | -1.9919 | -3.9837 | -0.021602
| 340 | 82.5 | 1352.8333 | 0.1 | -0.000566 | 0.031621 | -1.3224e-07 | -1.7541 | -3.5081 | -0.017899
| 345 | 174 | 2877.8333 | 0.1 | 0.000508 | 7.2e-05 | 1.1869e-07 | 0.42886 | 0.85772 | 7.0556
| 340 | 78.6 | 1287.8333 | 0.1 | -0.000574 | 0.031621 | -1.3411e-07 | -1.7703 | -3.5407 | -0.018152
| 347 | 241.9 | 4009.5 | 0.1 | 0.000673 | 0.000238 | 1.5724e-07 | 0.76423 | 1.5285 | 2.8277
| 350 | 276.7 | 4589.5 | 0.1 | 0.000834 | 0.000236 | 1.9486e-07 | 1.0915 | 2.1829 | 3.5339
| 353 | 277.7 | 4606.1667 | 0.1 | 0.00083 | 0.000237 | 1.9393e-07 | 1.0833 | 2.1667 | 3.5021
| 355 | 278 | 4611.1667 | 0.1 | 0.000835 | 0.000235 | 1.9509e-07 | 1.0935 | 2.187 | 3.5532
| 0 | 278.5 | 4619.5 | 0.1 | 0.000849 | 0.00023 | 1.9836e-07 | 1.122 | 2.2439 | 3.6913
| 10 | 278.7 | 4622.8333 | 0.1 | 0.000828 | 0.000238 | 1.9346e-07 | 1.0793 | 2.1585 | 3.479
| 20 | 279.2 | 4631.1667 | 0.1 | 0.000825 | 0.000239 | 1.9276e-07 | 1.0732 | 2.1463 | 3.4519
| 30 | 279.2 | 4631.1667 | 0.1 | 0.000839 | 0.000234 | 1.9603e-07 | 1.1016 | 2.2033 | 3.5855
| 45 | 279.2 | 4631.1667 | 0.1 | 0.000836 | 0.000235 | 1.9533e-07 | 1.0955 | 2.1911 | 3.5574
| 60 | 279.6 | 4637.8333 | 0.1 | 0.000839 | 0.000234 | 1.9603e-07 | 1.1016 | 2.2033 | 3.5855
| 65 | 274.9 | 4559.5 | 0.1 | 0.000795 | 0.000246 | 1.8575e-07 | 1.0122 | 2.0244 | 3.2317
| 70 | 274.4 | 4551.1667 | 0.1 | 0.000681 | 0.00024 | 1.5911e-07 | 0.78049 | 1.561 | 2.8375
| 73 | 225.5 | 3736.1667 | 0.1 | 0.000596 | 0.000197 | 1.3925e-07 | 0.60772 | 1.2154 | 3.0254
| 75 | 205.8 | 3407.8333 | 0.1 | 0.000551 | 0.000152 | 1.2874e-07 | 0.51626 | 1.0325 | 3.625
| 77 | 182 | 3011.1667 | 0.1 | 0.00051 | 8.3e-05 | 1.1916e-07 | 0.43293 | 0.86585 | 6.1446
| 80 | 140.8 | 2324.5 | 0.1 | 0.000499 | 2.7e-05 | 1.1659e-07 | 0.41057 | 0.82114 | 18.4815
| 79 | 157.1 | 2596.1667 | 0.1 | 0.000503 | 4.5e-05 | 1.1752e-07 | 0.4187 | 0.8374 | 11.1778
| 78 | 149.4 | 2467.8333 | 0.1 | 0.0005 | 3.5e-05 | 1.1682e-07 | 0.4126 | 0.8252 | 14.2857
| 76 | 162.5 | 2686.1667 | 0.1 | 0.000503 | 4.7e-05 | 1.1752e-07 | 0.4187 | 0.8374 | 10.7021
| 68 | 269 | 4461.1667 | 0.1 | 0.000794 | 0.000247 | 1.8551e-07 | 1.0102 | 2.0203 | 3.2146
| 67.5 | 257.3 | 4266.1667 | 0.1 | 0.000728 | 0.000249 | 1.7009e-07 | 0.87602 | 1.752 | 2.9237
| 128 | 48 | 777.8333 | 0.1 | 0.000369 | 0.00022 | 8.6215e-08 | 0.14634 | 0.29268 | 1.6773
| 178 | 20.04 | 311.8333 | 0.01 | 0.000343 | 0.000232 | 8.014e-08 | 0.093496 | 0.18699 | 1.4784
| 235 | 9.97 | 144 | 0.01 | 0.000308 | 0.000243 | 7.1963e-08 | 0.022358 | 0.044715 | 1.2675
| 145 | 35.51 | 569.6667 | 0.03 | 0.000341 | 0.000233 | 7.9673e-08 | 0.089431 | 0.17886 | 1.4635
Conclusiones: Cuando bajamos de 50 nW/cm2 vistos por el PBNist, el PDVirgo comienza a comportarse de manera extraña ya que nos acercamos al limite marcado por el ADC, que esta en torno a 0.5 mV (en las diapositvas de Jorge, 488 uV ± 244 uV)
Esto esta corroborado por el valor del std dev, que empieza a ser del orden de la propia medida.

## Good SN values
Power ND ref (input attenuator) | PM (nW/cm2) | std PM (nW/cm2) | PM (W) - of the PM | PM - offset (W) | PM - offset - 2% (W) | PM Wdensity*A_PD (W) | (PM Wdensity-offset)*A_PD (W) | PD Virgo (V) | std PD Virgo (V) | PD Virgo (A) I=V/R | PD Virgo - offset (A) | PD Virgo - offset +2% (A) | PD Virgo - offset +2% (A/cm2) | Signal-to-Noise | A/W (PDVirgo(A)/PM(W/cm2))/A_PD(cm2) | Area sensor PM (cm2)=0.7853981634 | 0.7854 | Area sensor PD (cm2)=0.485809 | 0.48581 | R=4.28 kOhm | 36% humedad | Numero de medidas | N=60000/60=1000 | 21.3 Celsius
75 | 189.8 | 0.1 | 1.4907e-07 | 1.4802e-07 | 1.4506e-07 | 9.2207e-08 | 9.1699e-08 | 0.000521 | 0.0001 | 1.2173e-07 | 5.2336e-08 | 5.3383e-08 | 1.0989e-07 | 5.21 | 0.57895
77 | 182 | 0.1 | 1.4294e-07 | 1.419e-07 | 1.3906e-07 | 8.8417e-08 | 8.791e-08 | 0.00051 | 8.3e-05 | 1.1916e-07 | 4.9766e-08 | 5.0762e-08 | 1.0449e-07 | 6.1446 | 0.57412
345 | 174 | 0.1 | 1.3666e-07 | 1.3561e-07 | 1.329e-07 | 8.4531e-08 | 8.4023e-08 | 0.000508 | 7.2e-05 | 1.1869e-07 | 4.9299e-08 | 5.0285e-08 | 1.0351e-07 | 7.0556 | 0.59487
76 | 162.5 | 0.1 | 1.2763e-07 | 1.2658e-07 | 1.2405e-07 | 7.8944e-08 | 7.8436e-08 | 0.000503 | 4.7e-05 | 1.1752e-07 | 4.8131e-08 | 4.9093e-08 | 1.0106e-07 | 10.7021 | 0.62188
79 | 157.1 | 0.1 | 1.2339e-07 | 1.2234e-07 | 1.1989e-07 | 7.6321e-08 | 7.5813e-08 | 0.000503 | 4.5e-05 | 1.1752e-07 | 4.8131e-08 | 4.9093e-08 | 1.0106e-07 | 11.1778 | 0.64325
78 | 149.4 | 0.1 | 1.1734e-07 | 1.1629e-07 | 1.1397e-07 | 7.258e-08 | 7.2072e-08 | 0.0005 | 3.5e-05 | 1.1682e-07 | 4.743e-08 | 4.8379e-08 | 9.9583e-08 | 14.2857 | 0.66656
80 | 140.8 | 0.1 | 1.1058e-07 | 1.0954e-07 | 1.0735e-07 | 6.8402e-08 | 6.7894e-08 | 0.000499 | 2.7e-05 | 1.1659e-07 | 4.7196e-08 | 4.814e-08 | 9.9093e-08 | 18.4815 | 0.70378
80 | 138.9 | 0.1 | 1.0909e-07 | 1.0805e-07 | 1.0589e-07 | 6.7479e-08 | 6.6971e-08 | 0.000496 | 6.7e-05 | 1.1589e-07 | 4.6495e-08 | 4.7425e-08 | 9.7621e-08 | 7.403 | 0.70282
80 | 134.9 | 0.1 | 1.0595e-07 | 1.0491e-07 | 1.0281e-07 | 6.5536e-08 | 6.5028e-08 | 0.000495 | 5e-05 | 1.1565e-07 | 4.6262e-08 | 4.7187e-08 | 9.7131e-08 | 9.9 | 0.72002
85 | 122.1 | 0.1 | 9.5897e-08 | 9.4853e-08 | 9.2955e-08 | 5.9317e-08 | 5.881e-08 | 0.000489 | 8e-05 | 1.1425e-07 | 4.486e-08 | 4.5757e-08 | 9.4187e-08 | 6.1125 | 0.77139